| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposers’ signatures |
| --- | --- | --- | --- | --- |
| A. Safe Working Practice | A1 | Provide evidence that you are competent with a range of generic skills including mandatory training e.g. infection control and basic life support. |  |  |
|  | A2 | Demonstrates an understanding and application of health & safety and risk management in all aspects of the Bone Densitometry Technologist role. |  |  |
|  | A3 | Demonstrates an understanding of, and works within all relevant legislation to their role including departmental local rules, employers procedures IRR and IRMER. |  |  |
|  | A4 | Perform health & safety risk assessments (including radiation risk assessments for ionising radiation) in accordance with standard operating procedures. |  |  |
|  | A5 | Provide evidence of radiation incident reporting. |  |  |
|  | A6 | Demonstrates effective communication skills and team working. |  |  |
|  | A7 | Demonstrates a professional approach to all aspects of the Bone Densitometry Technologist/Technician role. |  |  |
|  | A8 | Assists in giving instructions to patients and colleagues regarding radiation hazards, doses and restrictions. |  |  |
|  | A9 | Demonstrates reflective practice as part of the learning process. |  |  |

| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposer (s) signature |
| --- | --- | --- | --- | --- |
| B. Equipment Management | B1 | Performs cleaning/decontamination of equipment. |  |  |
|  | B2 | Performs routine equipment quality control checks and review and interpret results. |  |  |
|  | B3 | Performs basic fault finding and first line user maintenance. |  |  |
|  | B4 | Demonstrates an understanding of quality management systems. |  |  |

| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposer (s) signature |
| --- | --- | --- | --- | --- |
| C. Bone Densitometry | C1 | Physical Principles of X-Ray Densitometry |  |  |
|  | C2 | Perform all aspects of patient preparation imaging and compliance with legislation. Adhering to standards of professional practice throughout |  |  |
|  | C3 | Operate equipment safely across all DXA acquisitions to produce high quality results for interpretation. |  |  |
|  | C4 | Show an understanding of understanding technical interpretation of Bone Densitometry results |  |  |
|  | C5 | Show an understanding of Osteoporosis and fracture risk |  |  |
|  | C6 | Assist in appointment scheduling. |  |  |
|  | C7 | Assist with clinical audit. |  |  |
|  | C8 | Assist with peer audit. |  |  |
|  | C9 | Demonstrates accurate recording keeping. |  |  |

| Domain | Reference | Description | Evidence (please indicate on which page of you portfolio this evidence can be found) | Proposer (s) signature |
| --- | --- | --- | --- | --- |
| D. Good Scientific Practice | D1 | Adhere to relevant standards of professional practice as defined in Good Scientific Practice. Demonstrate that you have read, understood and comply with this document in all aspects of work. |  |  |

Applicant’s Name (printed):						Applicant’s signature: 						  Date: